[image: image1.png]



EPC for Sheltered Accommodation 
[image: image2.png]



Constructions:

Double glazing with pane U-value of 1.10W/m²K and total transmittance (g value) of 0.6. Frames were wooden.

External wall was of brick and blockwork construction with cedar cladding to some areas, U-value of 0.30W/m²K.

Roof U-value was 0.16 W/m²K.

Ground Floor U-value was 0.22 W/m²K.

Other information:
Most areas were naturally ventilated, and most windows could be opened manually. There was extract to kitchens and bathrooms, the extract fans having an SFP of 0.4 W/l/s.
Heating was provided by two gas fired boilers which were 96.5% efficient at 30% load and 92.4% efficient at 100% load, with a 90.9 % distribution efficiency.
Hot water was provided by a gas boiler with 82.72% efficiency and 90% distribution efficiency.
Results:
This building achieved a B grade, mostly thanks to its efficient heating system and use of natural ventilation.
[image: image3.png]Emissions in kgc02/m2

70

@

0

a0

20

20

0

Annual CO2 Emissions

Vesigr

Motional efererce lyaical  StK 1

mEES SERE

Disolacec Electr iy
“ugating

=Pumps

atars

=AU Coolrg

oo Coing
=Dk

=AU beztng

mRoon kestiag





[image: image4.png]Energy Performance Certificate vernment

Non-Domestic Building

Centificate Reference Number:

This carificate shows the energy rating of this buikding. It indicates the energy effciency of
the buiding fabric and the heating, ventiation, cooling and lighting systems. The rating is
compared to two benchmarks for this type of building: one appropriate for new buidings
and one appropriate for existing buildings. Ther is more advice on how to interpret this
information on the Govermment's website . communites.gov.uklepbd

More energy eficient

ceseesiee Net 2o CO, amisions

4 38 e

2
Coirs
D 76-100

F 126.150

Less energy efficient

Tecimical information [“Benchmarks |

Wain neating fuet Buldings simir to this one
Buiding environment: couta have ratings 5 follows:

Tt et oot e o) B oo

Buiding complexity

s een: s ety




