STANDARD 140 OUTPUT FORM - MODELING NOTES

INSTRUCTIONS: See Annex A2.

SOFTWARE: TAS

VERSION: 9.2.x

DOCUMENT BELOW THE MODELING METHODS USED IF ALTERNATIVE MODELING

METHODS OR ALGORITHMS ARE AVAILABLE IN THE SOFTWARE BEING TESTED.

(See Annex A2 for examples.)

--------------------------------------------------------------------------------------------------------------------------------------

Simulated Effect: Internal Heat Transfer.

Optional Settings or Modelling Capabilities: User defined, Alamdari & Hammond, CEN defaults.

Setting or Capability Used: User defined.

Physical Meaning of Option Used: Internal convection coefficients are fixed at values given in CIBSE Guide A.

--------------------------------------------------------------------------------------------------------------------------------------

--------------------------------------------------------------------------------------------------------------------------------------

Simulated Effect: Preconditioning Days.

Optional Settings or Modelling Capabilities: User defined number of preconditioning days = 0 to 365. (Default = 15 days)

Setting or Capability Used: 15.

Physical Meaning of Option Used: The number of simulated days prior to the start of the simulation period. Provided the number of preconditioning days is sufficiently large in relation to the building time constant this negates erroneous thermal conditions during early periods of simulation.

--------------------------------------------------------------------------------------------------------------------------------------

--------------------------------------------------------------------------------------------------------------------------------------

Simulated Effect: Simulation Period.

Optional Settings or Modelling Capabilities: User defined simulation period. Start Day = 0 to 365 and End Day = ‘Start Day’ to 365. (Default: Start Day 0, End Day 365)

Setting or Capability Used: Start Day = 0 End Day = 365.

Physical Meaning of Option Used: The period of days for which the dynamic simulation is undertaken and results output. However, only results for the month of February are required for this study.

--------------------------------------------------------------------------------------------------------------------------------------

--------------------------------------------------------------------------------------------------------------------------------------

Simulated Effect: Plant Performance.

Optional Settings or Modelling Capabilities:

Tas Systems – Systems Schematic Options = DX coil zone component or Separate DX coil and indoor fan components.

Setting or Capability Used: DX Coil Zone Component.

Physical Meaning of Option Used: The DX Coil has the indoor supply fan power included within the zone component parameters instead of using a separate indoor fan component. The systems schematic is simplified.

--------------------------------------------------------------------------------------------------------------------------------------

--------------------------------------------------------------------------------------------------------------------------------------

Simulated Effect: DX Coil Bypass factor.

Optional Settings or Modelling Capabilities:

Enter bypass factor value in DX zone component properties or enter bypass factor performance map coefficients.

Setting or Capability Used: Bypass factor performance map coefficients.

Physical Meaning of Option Used: The DX Coil has the bypass factor performance map coefficients completed through automation to enable a variable bypass factor to be used dependant on outdoor dry bulb and entering wet bulb temperatures.

--------------------------------------------------------------------------------------------------------------------------------------